H.264 series DVR User’s installation and operation Manual

Edition R1.0

Welcome

Thank you for purchasing our DVR!

This manual is designed to be a reference tool for the installation and operation of your system.

Here you can find information about this series DVR features and functions, as well as a detailed menu tree.

Before installation and operation please read the following safeguards and warnings carefully!

Important Safeguards and Warnings

Do not place heavy objects on the DVR.

Do not let any solid or liquid fall into or infiltrate the DVR.

Please brush printed circuit boards, connectors, fans, machine box and so on regularly. Before the dust cleaning please switch off the power supply and unplug it.

Do not disassemble or repair the DVR by yourself. Do not replace the components by yourself.

Environment

Please place and use the DVR between 0℃ and 40℃.Avoid direct sunlight. Stay away from heat source.

Do not install the DVR in damp environment.

Do not use the DVR in smoky or dusty environment.

Avoid collision or strong fall.

Please insure the DVR level installation in a stable workplace.

Please install in ventilated place. Keep the vent clean.

Use within the rating input and output scope.

Directory

1 Production Introduction	4

1.1 Product overview	4

1.2 Main functions	4

2 Open-package check and cable connections	6

2.1 Open-package check	6

2.2 Hard disk installation	6

2.3 Front panel	7

2.4 Rear panel	9

2.4.1 Installation connections sketch map  (Below just as the 4CH DVR for example,Specifically please refer to practical product.)	11

2.5 Audio and video input and output connections	11

2.5.1 Video input connections	11

2.5.2 Video output connections and options	12

2.5.3 Audio signal input	12

2.5.4 Audio signal output	12

2.6 Alarm input and output connections	13

2.6.1 Alarm input port specification	14

2.6.2 Alarm output port specification	14

2.6.3 Alarm output port relay parameters	15

2.7 Speed dome connections	15

3 Basic operation	16

3.1 Turn on	16

3.2 Turn off	16

3.3 System Login	17

3.4 Preview	17

3.5 Desktop shortcut menu	18

3.5.1 Main menu	18

3.5.2 Playback	19

3.5.3 Record Mode	22

3.5.4 Alarm output	22

3.5.5 PTZ control	23

3.5.6 Color setting	28

3.5.7 Output Adjust	29

3.5.8 Logout	29

4 Main menu	30

4.1 Main menu navigation	30

4.2 Record	32

4.2.1 Record Config	32

4.2.2 Snapshot Storage	33

4.2.3 Playback	34

4.2.4 Backup	34

4.3 Alarm Function	35

4.3.1 Motion Detect	35

4.3.2 Video Blind	38

4.3.3 Video Loss	39

4.3.4 Alarm input	39

4.3.5 Alarm output	40

4.3.6 Abnormal	40

4.4 System setup	40

4.4.1 General	41

4.4.2 Encode setup	42

4.4.3 Network setup	43

4.4.4 NetService	44

4.4.5 GUI Display	50

4.4.6 PTZ setup	52

4.4.7 RS232 setup	53

4.4.8 Tour setup	53

4.5 Advanced	54

4.5.1 HDD Manage	54

4.5.2 Account	55

4.5.3 Online User	58

4.5.4 TV adjust	58

4.5.5 Auto Maintain	59

4.5.6 Restore	59

4.5.7 Upgrade	60

4.6 Info	60

4.6.1 HDD info	60

4.6.2 BPS	61

4.6.3 LOG	62

4.6.4 Version	63

4.7 Shut down system	63

5 FAQ and maintenance	64

5.1 FAQ	64

5.2 Maintenance	69

Appendix 1.Remote controller operation	70

Appendix 2.Mouse operation	71

Appendix 3.Hard disk capability calculation	72

# 1 Production Introduction

## 1.1 Product overview

The series DVR is designed specially for security and defence field which is an outstanding digital surveillance product. It introduces embedded LINUX operating system which is more stable. It introduces standard H.264mp video compressed format and G.711A audio compressed format which insures the high quality image, low error coding ratio and single frame playing. It introduces TCP/IP network technology which achieves the strong network communication ability and telecommunication ability.

The series DVR can be used individually or online applied as a part of a safety surveillance network. With the professional network video surveillance software it achieves the strong network communication ability and telecommunication ability.

The series DVR can be applied in the bank, telecom, electric power system, judicial system, transportation, intelligent housing, factory, storehouse, water conservancy and so on.

## 1.2 Main functions

Real-time surveillance

analog interface and VGA interface (VGA interface is equipped selectively)

surveillance function through monitor or display

Storage

non-working hard disk dormancy processing which is convenient to radiate heat, reduce power and extend the  life-span

special storage format which insures the data safety

Compression

real-time compression by individual hard disk which insures the audio and video signal stable synchronization

Backup

through SATA interface and USB interface such as USB equipment, removable hard disk and so on

through net download the files in the hard disk

Playback

individual real-time video recording as well as searching, playback, network surveillance, recording check, downloading and so on

multi-playback mode

zoom at arbitrary region

Net operating

through net tele-surveillance in the real time

tele-PTZ control

tele-recording check and real-time playback

Alarm linkage

multi-route relay alarm output which is convenient for the alarm linkage and light control at the spot

protecting circuits at the alarm input and output interface which protects the main machine from damage Communication interface

RS485 interface which fulfills the alarm input and PTZ control

standard ethernet network interface which fulfills the telecommuting function
Intelligent operating

mouse action function

fast copy and paste operating for the same setting

# 2 Open-package check and cable connections

## 2.1 Open-package check

When you receive the DVR, please check first .

First, please check whether there is any visible damage to the package appearance. The protective materials used for the package of the DVR can protect most accidental clashes during transportation.

Then, please open the box and get rid off the plastic protective materials. Check whether there is any visible damage to the DVR appearance.

At last, please open the machine crust and check the data wire in the front panel, power wire, the connection between the fan power and the main board.

Front panel and rear panel

- The key function specification in the front panel and the interface specification in the real panel are in the specification.

- Please check the product type in the front panel whether is accordant with the product type you order.

The label in the real panel is very important for the after service. Please protect it carefully. When you contact us for after service, please provide the product type and serial number in the label.

## 2.2 Hard disk installation

For the first use，please install the hard disk.

- disassemble the screw            ②disassemble the cover        ③fix the screw of hard disk

④fix the screw of hard disk             ⑤connect the data wire         ⑥connect the power wire

⑦cover the machine                    ⑧fix the cover

## 2.3 Front panel

4CH DVR panel:

8CH DVR panel:

16CH DVR panel:

4、8、16CH DVR panel:

(1) Play previous frame          	(2) Play next frame           (3) Slow play

(4) Cancel button                  (5) Recording button         (6) Left button

(7) Up button                     (8) Right button             (9) USB

(10) Power indicator light           (11) Fast play  			  (12) Stop

(13) Play         	            (14) IR remoter receiver      (15) Recording search button

(16) PTZ control button             (17) Down button           (18) Menu & enter button

(19) Alarm indicator light           (20) Link indicator light       (21) Rec indicator light

(22) Ready indicator light           (22) Power button            (23) Shift button

Front panel button operation function table

| Num. | Button name | Mark | Function |
| --- | --- | --- | --- |
| 1 | Search | Search | To find hard disk video recorder on video data, provide diversified search terms |
| 2 | Direction button | < > | Remove the cursor |
|  |  |  | Add or decrease number during the user edit state |
|  |  |  | Change the setting in the menu |
|  |  |  | Enter 1 channel or 4 channels surveillance during surveillance image |
|  |  | < > | Remove the cursor when the main menu or submenu is popped |
|  |  |  | Remove the cursor during the playback state |
|  |  |  | Enter 2 channel or 3 channel surveillance during surveillance image |
|  | Main menu/Confirm button | ENTER | Confirm |
|  |  |  | Enter main menu |
| 3 | Cancel button | ESC | Back to the above level menu or cancel operation in the operation menu |
|  |  |  | Back to the real-time surveillance during the playback state |
| 4 | Play previous frame button | I( | Play previous video during the playback state |
| 5 | Play next frame button | (I | Play next video during the playback state |
| 6 | Slow play | ► | Play in the multi-low or regular speed video during the playback state |
| 7 | Fast play | ( | Play in the multi-fast or regular speed video during the playback state |
| 8 | Stop | II/( | Playback the video or pause during the playback state |
| 9 | Play button | (\II | Play the video or pause during the playback state |
| 10 | Recording button | REC | Start/stop the video recording manually With the direction button choose the channel in the recording control menu |

## 2.4 Rear panel

4CH DVR panel:

1         2     3        8        5     4    7

4CH DVR panel:

8CH DVR panel:

9        8   5   4     6  7   3  2                  3                   1

16CH DVR panel:

1                     2   3        3        8        9  6   4   7

(1) video input             (2) video output           	(3) audio input/ audio output

(4) USB interface           (5) network interface          (6) RS-485 interface video

(7) power jack 	         (8) VGA output               (9) alarm input/alarm output

(10) Infrared extensions

Note: Some models have front panel USB interface, this interface with the top of the rear panel USB port are mutually exclusive, only one interface at the same time effective. The bottom of a rear panel USB as an independent and effective.

## 2.4.1 Installation connections sketch map  (Below just as the 4CH DVR for example,Specifically please refer to practical product.)

## 2.5 Audio and video input and output connections

### 2.5.1 Video input connections

The video input port is BNC connector plug. The demand of input signal is PAL/NTSC BNC(1.0VP-P,75Ω).

The video signal must be accorded with the state standard which has the high signal to noise ratio, low aberration and low interference. The image must be clear and has natural color in the appropriate brightness.

Insure the vidicon signal stable and credible

The vidicon should be installed in the appropriate location where is away from backlighting and low illumination or adopts the better backlighting and low illumination compensation.

The ground and power supply of the vidicon and the DVR should be shared and stable.

Insure the transmission line stable and credible

The video transmission line should adopt high quality coaxial pair which is chosen by the transmission distance. If the transmission distance is too far, it should adopt shielded twisted pair, video compensation equipment and transmit by fiber to insure the signal quality.

The video signal line should be away from the electro magnetic Interference and other equipments signal lines. The high voltage current should be avoided especially.

Insure the connection stable and credible

The signal and shield lines should be firm and connected credible which avoid false and joint welding and oxidation.

### 2.5.2 Video output connections and options

The video output is divided into PAL/NTSC BNC(1.0VP-P,75Ω) and VGA output(selective configuration).

When replace the monitor by the computer display, there are some issues to notice.

1、Do not stay in the turn-on state for a long time.

2、Keep the computer display normal working by demagnetizing regularly.

3、Stay away from the electro magnetic Interference.

TV is not a credible replacement as a video output. It demands reducing the use time and control the power supply and the interference introduced by the nearby equipments strictly. The creepage of low quality TV can lead to the damage of other equipments.

### 2.5.3 Audio signal input

Audio port is BNC connection.

The input impedance is high so the tone arm must be active.

The audio signal line should be firm and away from the electro magnetic Interference and connected credible which avoid false and joint welding and oxidation. The high voltage current should be avoided especially.

### 2.5.4 Audio signal output

Commonly the output parameter of DVR audio signal is greater than 200mv 1KΩ(BNC) which can connect the low impedance earphone and active sound box or other audio output equipments through power amplifier.  If the sound box and the tone arm can not be isolated, howling phenomena is often existed. There are some methods to deal with the above phenomena.

- Adopt better directional tone arm.

- Adjust the sound box volume to be under the threshold that produces the howling phenomena.

- Use fitment materials that absorb the sound to reduce reflection of the sound.

- Adjust the layout of the sound box and the tone arm.

## 2.6 Alarm input and output connections

１、Alarm input

- Alarm input is grounding alarm input.

- Alarm input demand is the grounding voltage signal.

- When the alarm is connected with two DVRs or connected with DVR and other equipments, it should be isolated by relay.

２、Alarm output

Alarm output can not be connected with high-power load(no more than 1A).When forming the output loop it must prevent the big current from relay damage. Use the contact isolator when there is a high-power load

３、PTZ decoder connections

A.	The grounding of the PTZ decoder and DVR must be shared otherwise the common-mode voltage will lead to the PTZ control failure. The shielded twisted pair is recommended.

B.  Avoid the entrance of high voltage. Make the layout reasonably. Take precaution from the thunder.

C.  In the outlying end connect 120Ω resistance paralleled to reduce the inflection and insure the signal quality.

D.	The 485 AB lines of DVR can not connected with other 485 output equipments paralleled.

E.	The voltage between the AB lines of the decoder must be less than 5V.

4、Front equipment grounding note

Bad grounding can lead to the burnout of the chip.

5、Alarm input type unlimited

The DVR alarm output port is constant opening type.

1     2   3       4

(1) alarm input 	(2) grounding	    (3) alarm output  (4) RS485

| parameter | meaning |
| --- | --- |
| SENSOR | Alarm input (1、2、3、4) |
| G | grounding |
| C1、NO1 | Alarm output interface(constant open type) |
| A、B | 485communication interface which is connected with the recording control equipments such as the decoder |

### 2.6.1 Alarm input port specification

1 channels alarm input. Alarm input type unlimited.

The grounding and the com port of the alarm sensor are parallel (The alarm sensor is external power supply) .

The grounding of the alarm and the DVR should be shared.

The NC port of the alarm sensor must be connected with the DVR alarm input port.

The grounding of the power supply and the alarm sensor must be shared when used in external power supply.

### 2.6.2 Alarm output port specification

1 channels alarm output. There is external power supply when using the external alarm equipment.

Please refer to the relay relevant parameters to avoid the overload that damages main machine.

### 2.6.3 Alarm output port relay parameters

| Type：JRC-27F |
| --- |
| Interface material | silver |
| rating (resistance load) | Rating switch capacity | 30VDC 2A, 125VAC 1A |
|  | maximal switch power | 125VA 160W |
|  | maximal switch voltage | 250VAC, 220VDC |
|  | maximal switch current | 1A |
| isolation | Homo-polarity interface | 1000VAC 1minute |
|  | Inhomo-polarity interface | 1000VAC 1 minute |
|  | Interface and winding | 1000VAC 1 minute |
| Surge voltage | Homo-polarity interface | 1500VAC (10×160us) |
| Turn-on time | 3ms max |
| Turn-off time | 3ms max |
| longevity | mechanical | 50×106 MIN（3Hz) |
|  | electric | 200×103 MIN (0.5Hz) |
| Environment temperature | -40~+70℃ |

## 2.7 Speed dome connections

1、Connect the 485 lines of the speed dome with the DVR 485 interface.

2、Connect the video line with the DVR video input.

3、Electrify the speed dome.

# 3 Basic operation

Note: The button in gray display indicates nonsupport.

## 3.1 Turn on

Plug the power supply and turn on the power supply switch. Power supply indicator light shining indicates turning on the video recorder. After the startup you will hear a beep. The default setting of video output is multiple-window output mode. If the startup time is within the video setting time, the timing video recording function will start up automatically. Then the video indicator light of corresponding channel is shining and the DVR is working normally.

Note:1. Make sure that the input voltage corresponds with the switch of the DVR power supply.

2. Power supply demands: 220V±10% /50Hz.

Suggest using the UPS to protect the power supply under allowable conditions.

## 3.2 Turn off

There are two methods to turn off the DVR. Entering [main menu] and choosing [turn off] in the [turn off the system] option is called soft switch. Pressing the power supply switch is called hard switch.

Illumination:

1、Auto resume after power failure

If the DVR is shut down abnormally, it can automatically backup video and resume previous working status after power failure.

2、Replace the hard disk

Before replacing the hard disk, the power supply switch in the real panel must be turned off.

3、Replace the battery

Before replacing the battery, the setting information must be saved and the power supply switch in the real panel must be turned off. The DVR uses button battery. The system time must be checked regularly. If the time is not correct you must replace the battery, we recommend replacing the battery every year and using the same battery type.

Note: The setting information must be saved before replacing the battery otherwise information will lose.

## 3.3 System Login

When the DVR boots up, the user must login and the system provides the corresponding functions with the user purview. There are two user settings. The names are admin and guest and these names have no password. Admin is the super user purview; guest’s permissions are preview and video playback. User admin and guest’s password can be revised, while their permissions can’t be revised.

Picture 3.1 System Login

Password protection: If the password is continuous wrong three times, the alarm will start. If the password is continuous wrong five times, the account will be locked. (Through reboot or after half an hour, the account will be unlocked automatically).

For your system security, please modify your password after first login.

## 3.4 Preview

You can right click mouse to choose the switch between the windows.

The system date, time and channel name are shown in each viewing window. The surveillance video and the alarm status are shown in each window.

| 1 |  | Recording status | 2 |  | Video loss |
| --- | --- | --- | --- | --- | --- |
| 3 |  | Motion detect | 4 |  | Camera lock |

Table 3.1 Preview icon

## 3.5 Desktop shortcut menu

In preview mode you can right click mouse to get a desktop shortcut menu. The menu includes: Main Menu, Record Mode, Playback, PTZ Control, Color Setting, Output Adjust, PTZ Tour，  Logout,View1/4/8/9/16 screens.

Picture 3.2 Shortcut Menu

### 3.5.1 Main menu

When you login, the system main menu is shown as below.

Picture3.3 Main Menu

### 3.5.2 Playback

There are two methods for you to play the video files in the hard disk.

- In the desktop shortcut menu.

- Main menu>Record->Playback

Picture 3.4 video playback

1. file type			2. date and time 		3. record type    4.channels

5. Playback control   6. files backup 		7. speed hint		8. timeline

【File type】Choose record videos or pictures.

【Date and time】Choose the date and time. Date with white border means the system date. Red background means this day has record files.

【Record type】Normal, motion detect ,alarm or others.

【Channels】Choose the channels to display.

【Speed hint】show the fast or slow playback speed.

【File backup】Go to backup files. Click the button and operate as followed.

Note: The storage must be installed before the file backup. If the backup is terminated, the already backup can playback individually.

Picture 3.5 detect the storage

Detect: Detect the storage connected with the DVR such as hard disk or universal disk.

Backup: Click backup button and the dialog box is popped up. You can choose the backup file according to the type, channel and time.

Picture 3.6 recording backup

Remove：Clear the file information.

Query：Search the file according to the searching parameter.

Begin：Click the play button to start the backup

Cancel：During backup you can exit the page layout to carry out other functions.

【File searching】Search the file according to the searching parameter.

Picture 3.7 file searching

Channel: Set the searching channel.

File type: Set the searching file type.

Start Time: Set the searching time scan.

【Playback control】Refer to the following sheet for more information.

| Button | Function | Button | Function |
| --- | --- | --- | --- |
| / | Play/pause |  | Smart search |
|  | Stop |  | Slow play |
|  | Fast play |  | Previous frame |
|  | Next frame |  | Audio |
|  | Brightness |  | Contrast |
|  | Full screen |  | Backup |

Table 3.2 Playback control key

Special functions：

Single channel view：double-click the channel to see the single channel and next double-click to back

Full screen view:click the right key to see full screen view

Accurate playback：Input time (h/m/s) in the time column  and then click play button. The system can operate accurate playback according to the searching time.

Local zoom：When the system is in single-window full-screen playback mode, you can drag your mouse in the screen to select a section and then left click mouse to realize local zoom. You can right click mouse to exit.

Smart search：Click the button to see the next record clip during MD record playback in single channel.

Zoom timeline：Double-click the left key on timeline bar  to see the record in the hour：

### 3.5.3 Record Mode

Please check current channel status: “” means unchecked， “” means checked.

You can use desktop shortcut menu or click [main menu]> [recording function]> [recording set] to enter the recording control interface.

Picture 3.8 Record Mode

【Schedule】Record according to the configuration.

【Manual】Click the all button and the according channel is recording no matter the channel in any state.

【Stop】Click the stop button and the according channel stops recording no matter the channel in any state.

【Record Mode】Go to set the record details.

### 3.5.4 Alarm output

Please check current channel status: “” means unchecked, “” means checked.

You can use desktop shortcut menu or click [main menu]> [alarm function]> [alarm output] to enter the alarm output interface.

Picture 3.9 alarm output

【Configuration】Alarm is on according to the configuration.

【Manual】Click the all button and the according channel is alarming no matter the channel in any state.

【Stop】Click the stop button and the according channel stops alarming no matter the channel in any state.

### 3.5.5 PTZ control

Operation interface is as followed. The functions include: PTZ direction control, step, zoom, focus, iris, setup operation, patrol between spots, assistant switch, light switch and so on.

Note1. Decoder A(B)line connects with DVR A(B)line. Make sure the connection is right before use.

2. Click [main menu] >[system ] >[PTZ config] to set the PTZ parameters.

3. The PTZ functions are decided by the PTZ protocols.

Picture 3.10 PTZ setup

【CAM】Choose the dome camera input channel.

【Speed】Set the PTZ rotation range. Default range: 1 ~ 8.

【Zoom】Click /  button to adjust the zoom multiple of the camera.

【Focus】Click /  button to adjust the focus of the camera .

【Iris】Click /  button to adjust the iris of the camera.

【Direction control】Control the PTZ rotation. 8 directions control is supportive.(4 directions in Front panel is supportive )

【High speed PTZ】Full-screen show channel image. Left press mouse and control PTZ to rotate orientation. Left press mouse and then rotate the mouse to adjust the zoom multiple of the camera. Click “PTZ Trace” to begin.

Special functions：

1、Preset

Set a location for the preset, calls the preset points, PTZ automatically turns to the setting position

1）Preset option

Set a location for the preset, procedure is as follows:

Step 1: in Picture 3.10, click the Direction button will turn into preset position.

Step 2: write the preset points in the input blank , and you can also set the name of the point,then click the “set” button.The preset point is ok now.

Step 3: repeat step 1 and 2 to set other preset points.

Clear Preset：Input preset points, click Delete button, remove the preset。

Picture 3.11 Preset Settings

2）Preset Point Calls

In Picture 3.10, , write the preset points in the “preset”input blank, then click button“Goto”, PTZ turn to the corresponding preset point.

Picture 3.12 PTZ Control

2、Cruise between Points

Multiple preset points connected cruise lines, call cruise between points, the PTZ run around on the line

1）Cruise Between Points Settings

Cruise lines is connected by multiple preset points, setting procedure is as follows:

Step 1: set your preset points .

Step 2: click button “Patrol No.”, then write proper value into the Preset Points blank and interval blank，then click button “Add” .

Step 3:click “save”,  complete setting.

Remove Preset：click the preset point item in the information box, then click Delete button.The preset point will be removed after that.

Picture 3.13 Cruise Between Points Settings

2）The Calls of Cruise between Points

Click right key in preview interface,select PTZ tour—start cruise .PTZ begins to work on the cruise line. Click Stop cruise to stop cruise.

You can also click the start/stop button In Picture 3.11 to start or stop the cruise.

### 3.5.6 Color setting

Set the selective image parameters (current channel for single window display and cursor place for multi-window display). You can use the desktop shortcut menu and enter the interface. The image parameters include: tonality, brightness, contrast, saturation. You can set different parameters at different time sections.

Picture 3.18 Color Setting

### 3.5.7 Output Adjust

Adjust TV output area parameters. You can use the desktop shortcut menu or enter [main menu]> [management tools]> [Output adjust].

Picture 3.19 Output Adjust

### 3.5.8 Logout

Restore， logout, shut down the system or reboot up. You can use the desktop shortcut menu or enter [main menu].

Picture 3.20 Restore Reboot/Logout/Shutdown/Reboot the system

【restore reboot】Resume setup state and reboot the system.

【logout】Quit the menu. Offer password next entrance.

【shut down】Quit the system. Turn off the power supply.

When press the shut down button, there is schedule hint. After three seconds, the system is shut down. Cancel midway is of no effect.

【reboot】Quit the system. Reboot up the system..

3.5.9 Window switch

Preview in single window/four windows/eight windows/nine windows/sixteen windows according to your choice.

# 4 Main menu

## 4.1 Main menu navigation

| Main menu | Sub menu | Function |
| --- | --- | --- |
| Record | Config | Set the recording configuration, recording type, recording time section |
|  | playback | Set recording look-up, recording play, video file storage |
|  | backup | Detect backup equipment, backup the selective files |
| Alarm | Motion detection | Set motion detect alarm channel, sensitivity, area, linkage parameters: defending time section, alarm output, screen hint, recording, PTZ, patrol |
|  | Video blind | Set camera mask alarm channel, sensitivity, linkage parameters: defending time section, alarm output, screen hint, recording, PTZ, patrol |
|  | Video loss | Set video loss alarm channel, linkage parameters: defending time section, alarm output, screen hint, recording, PTZ, patrol |
|  | Alarm input | Set alarm input channel, equipment type, linkage parameters: defending time section, alarm output, screen hint, recording, PTZ, patrol |
|  | Alarm output | Set alarm mode: configuration, manual, shut down |
|  | Abnormality | No disk ,disk error,disk no space ,and so on |
| System configuration | General configuration | Set system time, data format, language, hard disk full time operation, machine number, video format, output mode, summertime, stay time |
|  | Encode configuration | Set main(assistant)coding parameter: code mode, resolving ability, frame rate, code stream control, image quality type, code stream value, frame between value, video/audio enable |
|  | Network configuration | Set basic network parameters，port, DHCP and DNS parameters |
|  | NetService | PPPOE、NTP、Email、IP purview、DDNS parameter |
|  | GUI display | Set channel name, preview hint icon state, transparency, cover area, time title, channel time fold |
|  | PTZ configuration | Set channel, PTZ protocol, address, baud rate, data bit, stop bit, check |
|  | Serial port Configuration (RS232) | Set serial port function, baud rate, date bit, stop bit, check |
|  | Tour | Set patrol mode and interval time |
| Management tools | Hard disk management | Show the state of disks in the dvr , format disk , recover and so on |
|  | User management | Modify user, team or password. Add user or team. Delete user or team. |
|  | Online user | Break the connection with the already login user. Lock the account after break until booting up again. |
|  | TV adjust | Adjust TV upside, downside, nearside, starboard distance |
|  | Automatic maintenance | Set automatic reboot system and automatic deleting files. |
|  | Restore | Resume setup state: common setup, code setup, recording setup, alarm setup, network setup, network service, preview playback, serial port setup, user management |
|  | Upgrade | to upgrade with external device(such as USB) |
|  | Device Info | show quantity information of device interface |
| System information | Hard disk information | Display hard disk capability and usage information |
|  | Code stream statistics | Display code stream information |
|  | Log information | Display or clear all log information according to the log video and time |
|  | Edition information | Display edition information |
| Shut down |  | Restore reboot，Logout, shut down or reboot |

## 4.2 Record

### 4.2.1 Record Config

Set the recording parameters in the surveillance channel. The system is set 24 hours consecutive recording in the first startup. You can enter [main menu]> [recording function]> [recording setup] to set.

Picture 4.1 Record Config

【CAM】Choose the corresponding channel number to set the channel. Choose the all option to set the entire channels.

【PreRecord】Record 1-30 seconds before the action. (time length is decided by the code stream)

【Mode】Set video state: schedule, manual or stop.

Schedule:Record according to the set video type (common, detection and alarm)and time section.

Manual:Click the button and the according channel is recording no matter the channel in any state.

Stop:Click the stop button and the according channel stops recording no matter the channel in any state.

【Period】Set the time section of common recording, The recording will start only in the set range.

【Copy to】copy the current channel settings to other channels.

【Record type】Set recording type: regular, detection or alarm.

Regular:Perform the regular recording in the set time section. The video file type is “R”.

Detect:Trigger the “motion detect”, “camera mask” or “video loss” signal. When above alarm is set as opening recording, the “detection recording” state is on. The video file type is “M”.

Alarm:Trigger the external alarm signal in the set time section. When above alarm is set as opening recording, the “detection recording” state is on. The video file type is “A”.

【Restore】restore the record configuration to default.

Note：Refer to chapter 4.3 to set corresponding alarm function.

### 4.2.2 Snapshot Storage

Setup snapshot parameters for different channels.It's set “stop” in default. For more details, pls go to Main Menu->Record->Snapshot Storage for appropriate settings.

【Picture 4.2 Snapshot storage

【CAM】Select the related channel to set,click "all" to set all channels.

【Interval】Setup interval time between two snapshots ，default is 5 sces.

【Mode】Set record status, "Schedule", "Manual" and "Stop"

Schedule: Realise snapshot according to record type(regular, detect and alarm) and period.

Manual:No matter what the present channel is in a state, once choose "manual" button,it will have snapshot at related channels.

Stop:No matter what the present channel is in a state,once choose "stop" button,it will stop snapshot at related channels.

【Period】Set snapshot period,it only startup Snapshot Storage at set period.

【Type】Three types:regular,detect and alarm

【Record type】Three types:regular,detect and alarm

Regular: snapshot at set period

Detect:snapshot at set period when motion detect,video blind and video loss which are preset for snapshot enable.

Alarm:snapshot at set period when alarm in which is preset for snapshot enable.

Note:for related alarm function,pls refer to chapter 4.3.

### 4.2.3 Playback

Refer to chapter 3.5.2.

### 4.2.4 Backup

You can backup the video files to external storage through setup.

Note：The storage must be installed before the file backup. If the backup is terminated, the already backup can playback individually.

Picture 4.3 Backup

【Detect】Detect the storage connected with the DVR such as hard disk or universal disk.

【Backup】Click backup button and the dialog box is popped up. You can choose the backup file according to the type, channel and time.

【Format】Format the storage device.

Picture 4.4 File Backup

Query：Show the file information satisfying the set file attributes.

Remove：Clear the file information.

Begin：Click the play button to start the backup.

Cancel：During backup you can exit the page layout to carry out other functions.

## 4.3 Alarm Function

Alarm functions include: motion detect,video blind, video loss, alarm input and alarm output.

### 4.3.1 Motion Detect

When system detects the motion signal that reaches the set sensitivity, the motion detect alarm is on and the linkage function is turned on.

Picture 4.4 Motion Detect

【CAM】Choose the set motion detect channel.

【Enable】 means that the motion detect function is on.

【Sensitivity】Choose in the six options according to the sensitivity.

【Region】Click setup and enter the set area. The area is divided into PAL22X18.. Grey block means the dynamic detect defensive area. Black block means the unfenced area. You can set the area as followed, Drag the mouse and draw the area.

Picture 4.5 Region

【Period】Trigger the motion detect signal in the set time section. You can set according to week or set uniformly. Each day is divided into four time sections.■ means the set valid.

Picture 4.6 set the time section

【Interval】Only one alarm signal is turned on even there are several motion detect signals in the set interval.

【Alarm output】Start the external equipment of corresponding linkage alarm when the motion detect alarm is turned on.

【Delay】Delay a few moments and stop when the alarm state is turned off. The range is 10~300 seconds.

【Record channel】Choose the recording channel (multiple option supportive). Trigger the video signal when the alarm is turned on.

Note:Set in the [recording setup] and perform the linkage recording. Start detecting video files in the corresponding time section.

【Tour】■ means that the selective channel is single window alternate patrol preview. The interval is set in the [MainMenu]>[System] > [Tour].

【Snapshot】Choose record channels,when  alarm happens,system triggers related channels for snapshot signal.

Note:For Snapshot activation,pls go to set period,detect and alarm enable at MainMenu->Record->Record config,

【PTZ Activation】Set the PTZ activation when the alarm is turned on.

Note:PTZ activation is set in the [shortcut menu] >[ PTZ control]. Set the patrol between spots, trail patrol and so on.

Picture 4.8 PTZ Activation

【Delay】When alarm is over,recording will last some seconds(10~300sec),then stop.

【Show message】Pop the alarm information dialog box in the local host computer screen.

【Send EMAIL】means sending an email to user when the alarm is turned on.

Note:Set in the [NetService] and send email.

【FTP upload】means upload the alarm images to your ftp when the alarm is turned on.

【Buzzer】Device buzzers when dvr detects alarm .

### 4.3.2 Video Blind

When the video image is influenced by the environment such as bad brightness or reaching the set sensitivy parameter, the camera mask function is turned on and the linkage function is turned on.

Picture 4.9 Video Blind

Set method: refer to chapter 4.3.1. Motion detect

### 4.3.3 Video Loss

When the equipment can not obtain the channel video signal, the video loss alarm is turned on and the linkage function is turned on.

Picture 4.10 Video loss

Set method: refer to chapter 4.3.1. Motion detect

### 4.3.4 Alarm input

When the equipment obtains the external alarm signal, the alarm function is turned on.

Picture 4.11 Alarm input

Set method: refer to chapter 4.3.1. Motion detect

### 4.3.5 Alarm output

Refer to chapter 3.5.4.

### 4.3.6 Abnormal

Analysing and inspecting current software and hardware of the device: When some abnormal events happen,the device will make a relative answer such as show message and buzzer.

Picture 4.12 Abnormal

【Event Type】      selecting abnormity you want to inspect

【Enable】         Select it to make sure abnormal function workable

【Show message】   Automatically alarm cue shows on the main screen

【Buzzer】         Device will have two long nosie “di di” while alarm is happening

## 4.4 System setup

Set the system parameters such as General, Encode, NetWork, NetService, GUI display, PTZ config, RS232 and Tour setup.

### 4.4.1 General

Picture 4.13 General setup

【System time】Set the system data and time.

【Date format】Choose the data format: YMD, MDY, DMY.

【Date Separator】Choose list separator of the data format.

【Time Format】Choose time format: 24-hour or 12-hour.

【Language】Support multiple languages with Chinese and English as standards

【HDD full】Choose stop record: Stop recording when the hard disk is full.

Choose overwrite: Cover the earliest recording files and continue recording when the hard disk is full.

【Resolution】Set display resolution and mode.

【DVR No.】Only when the address button in the remote controller and the corresponding DVR number is matched, the remote operation is valid.

【Video Standard】PAL or NTSC.

【Auto Logout】Set the latency time in 0-60. 0 means no latency time.

【DST】Choose the summer time option and pop the dialog box as followed.

Picture 4.14 DST (week)

Picture 4.15 DST (date)

### 4.4.2 Encode setup

Set the video/audio code parameter: video file, remote monitoring and so on. Set every independent channel’s coding parameter in the left part, and set the combine encode parameter in the right part.

Note: Combine encode introduces video compression technique which combines and compresses multi-channel’s video to a special channel.Applying for multi-channel playback simultaneously, Dial-up  multi-channel real-time monitor, mobile monitor and so on.

Picture 4.16 Encode setup

【CAM】Choose the channel number.

【Compression】Standard H.264 main profile.

【Resolution】Resolution type:D1/ HD1/CIF / QCIF.

【Frame Rate】P:1 frame/s~25 frame/s; N: 1 frame/s~30 frame/s

【Bit Rate Type】You can choose limited code stream or variable code stream. When you choose the variable code stream there are six image quality options.

【Bit Rate】Set the code stream value to modify the image quality. The larger code stream value the better image quality.

D1（1000~1500kbps）,CIF（384~1500kbps）, QCIF(64~512kbps)

【Video/Audio】When the icons are all selected, the video file is video and audio multiplex stream.

Combine Enable

【Combine Enable】When the icons are all checked, opening combination coding functions.

【Mode】multi-channel playback is used in all channels playback simultaneously, and the narrowband transmission is used in multi-channel real-time remote monitoring simultaneously at narrowband state, especially used in mobile monitor.

### 4.4.3 Network setup

Picture4.17 Network

【Net Card】You can choose cable network card or wireless network card.

【DHCP Enable】Obtain IP address automatically(not suggested)

Note：DHCP server is preinstalled.

【IP address】Set the IP address. Default: 192.168.1.20.

【Subnet mask】Set the subnet mask code. Default: 255.255.255.0.

【Gateway】Set the default gateway. Default: 192.168.1.1.

【DNS setup】Domain Name Server. It translates the domain name into IP address. The IP address is offered by network provider. The address must be set and reboot then it works.

【TCP port】Default: 10000.

【HTTP port】Default: 80.

【Mobile Monitor port】Default：34599

【Net Service】Goto advanced network setup.

### 4.4.4 NetService

Choose the network service option and click the set button to configure the parameters.

Picture 4.18  NetService

【PPPoE setup】

Picture4.19  PPPOE

Input the user name and password that ISP（Internet service provider）provides. After saving it reboot up your system. Then the DVR will build a network connection based on PPPoE. The IP address will change into dynamic IP address after above operation is well done.

Operation：After PPPoE dialing successfully look up the IP address in the [IP address] and obtain the current IP address. Then use this IP address to visit the DVR through user port.

【NTP setup】

Picture 4.20  NTP

The NTP server must be installed in the PC.

Server IP:Input the IP address installed NTP server.

Port:Default: 123. You can set the port according to NTP server.

Time zone:London GMT+0  Berlin GMT +1  Cairo GMT +2  Moscow GMT +3  New Delhi GMT +5  Bangkok GMT +7  Hongkong Beijing GMT +8  Tokyo GMT +9   Sydney GMT +10  Hawaii GMT-10  Alaska GMT-9  Pacific time GMT-8  American mountain time GMT-7  American mid time GMT-6  American eastern time GMT-5  Atlantic time GMT-4  Brazil GMT-3  Atlantic mid time GMT-2.

Update Period:The same with the NTP server check interval. Default: 10minutes.

【EMAIL setup】

If the alarm is turned on or the alarm linkage photos are taken, send an email about the alarm information and the photos to appointed address.

Picture 4.21  EMAIL

SMTP server:Email server address. It could be an IP address or domain name. Domain name can be translated only it is the correct DNS configuration.

Port:Email server port number.

SSL:Decide whether using Secure Socket Layer protocol to login.

User Name:Apply the email server user name.

Password:Input the password corresponding to the user.

Sender:Set the email sender address.

Receiver:Send the email to appointed receivers when the alarm is turned on. You can set three receivers at most.

Title:You can set as you wish.

【IP Filter setup】

When choosing the white list, only the listed IP address can connect the DVR. The 64 IP addressed are supportive in the list.

When choosing the black list, the listed IP address can not connect the DVR. The 64 IP addressed are supportive in the list.

You can delete the set IP address by √ in the options.

Note：When the same IP address is in the white and black list at the same time, the black list precedence is higher.

Picture 4.22 IP IP FILTER

【DDNS】

It is the abbreviation of dynamic domain name server.

DDNS Type:choose ddns service provider.

User name：Provide the account registered by DDNS.

Password：Provide the password registered by DDNS.

When the DDNS is successfully configured and start, you can connect the domain name in the IE address column to visit.

Domain name：Provide the domain name registered by DDNS.

Note：The DNS setup must be configured correctly in the network setup.

Picture 4.23  DDNS setup

【FTP setup】FTP is available only when alarm happens,or alarm activates record and snapshot,it will upload related record and snapshot pictures to FTP server.

Picture 4.24 FTP setup

【Enable】Click Enable,then all settings will be available

【Server IP】IP address for FTP server

【Port】Domain Port of FTP,default 21

【User Name】User name of FTP

【Password】Password of user

【Max File Length】Max length for upload files at every packed,default 128M

【DirName】Directory of uploading files

【Wireless Config】ADSL through 3G net card,use CMS to visit and config the device

Picture 4.25 Wireless Config

【Enable】Choose Enable to make all settings available

【Type】Dial type,default AUTO

【Wireless AP】3G access point

【Dial Number】3G Dial Number

【User Name】User name of 3G

【Password】Password of dial user

【IP Address】IP address,got from dial

【UPNP】UPNP protocol can auto port forwarding on router,make sure UPNP is running on router before use it.

Picture 4.27

【Enable】Choose Enable to make sure all UPNP settings available

【HTTP】Route will automatically distribute HTTP port for the device,when IE viewing,it need this port(eg. 60.12.9.26:66)

【TCP】Router will automatically distribute TCP port for the device,when monitoring via CMS,it need this port.

【Mobile Monitor Port】Router will automatically distribute Mobile Port for the device,when mobile monitor,it need this port.

【ARSP】Domain name auto register.

Set your user name,click “Enter” to register ,click “Save” to save.If successful,you will get the domain name : username.edvrddns.com

Make sure the network setup is correct before setting up ARSP.When the ARSP is successfully configured and start, you can input the domain name in the IE address column to visit.

### 4.4.5 GUI Display

Configure the video output parameters including the front output mode and code output mode.

Front output：In the local preview mode include: channel title, time display, channel title, record status, alarm status,bitrate info, transparency and region cover.

Code output：In the network surveillance and video file mode include: channel title, time display, channel title, record status, alarm status,bitrate info, transparency and region cover.

Picture 4.28 GUI Display

【Channel Title】Click the channel name modify button and enter the channel name menu. Modify the channel name. The 16 Chinese characters and 25 letters are supportive.

【Time Display】means the selective state. Display the system data and time in the surveillance window.

【Channel Title】means the selective state. Display the system channel number in the surveillance window.

【Record Status】means the selective state. Display the system recording status in the surveillance window.

【Alarm Status】means the selective state. Display the system alarm status in the surveillance window.

【Bitrate info】means the selective state. The ninth window displays the code stream information in the nine-window preview status.

【Transparency】Choose the background image transparency. The range is 75~255.

【Channel】Choose the set code output channel number.

【Region Cover】Click set button and enter the corresponding channel window. You can cover the arbitrary using mouse. (Gray region is for output)

【Time display】and 【Channel Title】

### 4.4.6 PTZ setup

Picture 4.29  PTZ setup

【Channel】Choose the dome camera input channel.

【Protocol】Choose the corresponding dome protocol. (PELCOD as an example)

【Address】Set as the corresponding dome address. Default: 1.（Note：The address must be consistent with the dome address.）

【Baudrate】Choose the corresponding dome baud rate length. You can control the PTZ and vidicion. Default: 2400.

【Data bits】Include 5-8 options. Default: 8.

【Stop bits】Include 2 options. Default: 1.

【Parity】Include odd check, even check, sign check, blank check. Default: void.

### 4.4.7 RS232 setup

Picture 4.30 RS232 setup

【Serial Port Function】Common serial port is used to debug and update program or set up specific serial port.

【Baud rate】Choose the corresponding baud rate length.

【Data bits】Include 5-8 options.

【Stop bits】Include 2 options.

【Parity】Include odd, even, mark, space.

### 4.4.8 Tour setup

Set the patrol display. means that the tour mode is turned on. You can choose the single window, four windows, nine windows, sixteen windows patrol display or single display.

Picture 4.31 tour setup

【interval】Set the patrol switch interval. The set range is 5-120 seconds.

Note：  /  means turn off/on the patrol.

## 4.5 Advanced

### 4.5.1 HDD Manage

Configure and manage the hard disk. The menu displays current hard disk information: hard disk number, input port,  status and overall capability. The operation include: hard disk format, resume default. Choose the hard disk and click the right function button to execute.

Clue:Status“Normal” means that the hard disk is normal. “Error” means that the hard disk is broken-down. If the user need to change the damaged hard disk, you must shut down the DVR and take up all the damaged hard disks,then install a new one.

Picture4.32  HDD Manage

### 4.5.2 Account

Manage the user purview.

Note：1. The character length is 12 bytes at most for the following user and user team name。Case sensitive。

2. There is no limit in the user and user group. You can add or delete the user group according to user definition. The factory setup include: user\admin. You can set the team as you wish. The user can appoint the purview in the group.

3. The user management include: group/ user. The group and user name can not be the same. Each user only belongs to one group.

Picture 4.33  Account

【Modify User】Modify the existed user attribute.

【Modify Group】Modify the existed team attribute.

【Modify Password】Modify the user password. You can set 1-6 bit password. The blank ahead or behind the char string is invalid. The middle blank in the char string is valid.

Note：The user who possess the user control purview can modify his/her own or other users password

Picture 4.34  Modify Password

【Add user】Add a user in the team and set the user purview. Enter the menu interface and input the user name and password. Choose the team and choose whether cover using the user. Cover using means that the account can be used by multiple users at the same time.

Once choose the team the user purview is the subclass of the team.

We recommend that the common user’s purview is lower than the advanced user.

Picture 4.35 add user

【Add Group】Add a user team and set the purview. There are 29(4ch),37(8ch),53(16ch)different purviews: shut down the equipment, real time surveillance, playback, recording setup, video file backup and so on.

Picture 4.36  Add Group

【Delete User】Delete the current user. Choose the user and click delete user button.

【Delete Group】Delete the current group. Choose the group and click delete group button.

Picture 4.37  Delete Group

### 4.5.3 Online User

Look up the network user information in the local DVR. You can choose the network user and cut the connection. Then the user is locked until next boot-strap.

Picture 4.38 Online User

### 4.5.4 TV adjust

Refer to chapter 3.5.7 .

### 4.5.5 Auto Maintain

The user can set the auto reboot time and auto file deleting time limit.

Picture 4.39  Auto maintain

### 4.5.6 Restore

The system restore to the default setup.

Picture 4.40 Restore

### 4.5.7 Upgrade

Picture 4.41	Upgrade

【Upgrade】choose USB interface.

【Upgrade file】choose the file which needs upgraded.

【Flush】Refresh check the backup device

4.5.8 Device Info

Provide device interface info like audio in,alarm in/out to be conveniently used for user.

Picture 4.42 Device Info.

## 4.6 Info

### 4.6.1 HDD info

Display the hard disk state: hard disk number, video data size，picture data size, residual capability and so on.

Picture 4.43  HDD Info

### 4.6.2 BPS

Display the code stream（Kb/S）and hard disk capability （MB/H）in real time. It displays as the wave sketch map.

Picture 4.44 BPS

### 4.6.3 LOG

Look up system log according to the set mode.

Log information include: system operation, configuration operation, data management, alarm affair, recording operation, user management, file management and so on. Set the time section to look up and click the look up button. The log information will display as a list. Press Page up or Page down button to look up and press remove button to clear all the log information.

Picture4.45 LOG

### 4.6.4 Version

Display the basic information such as hardware information, software edition, issue data and so on.

Picture 4.46 Version

## 4.7 Shut down system

Refer to chapter 3.5.8.

# 5 FAQ and maintenance

## 5.1 FAQ

If the problems are not listed, please contact the local service or call the HQ service. We are willing to offer the service.

  - The DVR can not boot up normally.

Possible reasons are as followed:

    - The power supply is not correct.

    - Switch power supply line is not in good connection.

    - Switch power supply is damaged.

    - The program updating is wrong.

    - The hard disk is damaged or the hard disk lines are broken.

    - The front panel is damaged.

    - The main board of the DVR is damaged.

  - The DVR reboots automatically or stops working after boot up a few minutes.

Possible reasons are as followed:

    - The input voltage is not stable or too low.

    - The hard disk is damaged or the hard disk lines are broken.

    - The power of the switch power supply is low.

    - Frontal video signal is not stable.

    - Bad heat radiator or too much dust or bad running circumstance for the DVR.

    - The hardware of the DVR is damaged.

  - System can not detect hard disk.

Possible reasons are as followed:

    - The hard disk power supply line is not connected.

    - The cables of the hard disk are damaged.

    - The hard disk is damaged.

    - The SATA port of main board is damaged.

  - There are no video outputs in single channel, multiple channels and all channels.

Possible reasons are as followed:

    - The program is not matched. Please update the program.

    - The image brightness is all 0. Please restore the default setup.

    - There is no video input signal or the signal is too weak.

    - The channel protection or the screen protection is set.

    - The hardware of the DVR is damaged.

  - Real-time image problems such as the image color or the brightness distortion.

Possible reasons are as followed:

    - When using the BNC output, the option between the N mode or PAL mode is wrong and the image becomes black and white.

    - The DVR is not matched the monitor impedance.

    - The video transmission distance is too far or the loss of the video transmission line is too large.

    - The color and brightness setting of the DVR is wrong.

  - I can not find the video files in local playback mode.

Possible reasons are as followed:

    - The data line of the hard disk is damaged.

    - The hard disk is damaged.

    - Update the different program with the origin program files.

    - The video files to look up are covered.

    - The recording is not on.

  - The local video is not clear.

Possible reasons are as followed:

    - The image quality is too bad.

    - The reading program is wrong. Reboot up the DVR.

    - The data line of the hard disk is damaged.

    - The hard disk is damaged.

    - The hardware of the DVR is damaged.

  - There is no audio signal in the surveillance window.

Possible reasons are as followed:

    - It is not an active tone arm.

    - It is not an active sound box.

    - The audio lines are damaged.

    - The hardware of the DVR is damaged.

  - There is audio signal in the surveillance window but mo audio signal in the playback state.

Possible reasons are as followed:

    - Setting issues: the audio option is not chosen.

    - The according channel is not connected with the video.

  - The time is wrong.

Possible reasons are as followed:

    - Setting is wrong..

    - The battery is in bad connection or the voltage is too low.

    - The oscillation is damaged.

  - The DVR can not control the PTZ.

Possible reasons are as followed:

    - There is something wrong with the frontal PTZ.

    - The setting, connection or the installation of the PTZ decoder is not correct.

    - The connections are not correct.

    - The PTZ setting of the DVR is not correct.

    - The protocols of the PTZ decoder and the DVR are not matched.

    - The address of the PTZ decoder and the DVR are not matched.

    - When multiple decoders are connected, the far port of the PTZ decoder line A(B) must connect a 120 resistance to reduce the reflection otherwise the PTZ control is not stable.

    - The distance is too far.

  - The motion detect is not working,

Possible reasons are as followed:

    - The time range set is not correct.

    - The motion detect area set is not correct.

    - The sensitivity is too low.

    - Limited by some hardware edition.

  - I can not login via web or CMS.

Possible reasons are as followed:

    - The system is windows 98 or win me. We recommend updating to windows 2000sp4 or higher Version or installing the software for low edition.

    - ActiveX is hold back.

    - The version is not exceeded dx8.1. Update the display card driver.

    - Network connection failure.

    - Network setting issues.

    - Invalid password or user name.

    - The CMS is not matched the DVR program version.

  - The image is not clear or there is no image in network preview state or video file playback state.

Possible reasons are as followed:

    - Network is not stable.

    - The user machine is resource limited.

    - Choose the play-in-team mode in the network setup of DVR.

    - The region shelter or channel protection is set.

    - The user has no surveillance purview.

    - The real-time image of the hard disk recording machine itself is not clear.

  - Network connection is not stable.

Possible reasons are as followed:

    - Network is not stable.

    - IP address is conflicted.

    - MAC address is conflicted.

    - The net card of the DVR is bad.

  - There is something wrong with the USB backup or writing a CD.

Possible reasons are as followed:

    - The rewritable machine and the hard disk are shared the same data lines.

    - The data is too much. Please stop recording and backup.

    - The data exceeds the backup storage.

    - The backup equipment is not compatible.

    - The backup equipment is damaged.

  - The keyboard can not control the DVR.

Possible reasons are as followed:

    - The serial port of the DVR is not set correctly.

    - The address is not correct.

    - When multiple transformers are connected, the power supply is not large enough. Please give each transformer individual power supply.

    - The distance is too far.

  - Alarm can not be recessional.

Possible reasons are as followed:

    - The setting of the alarm is not correct.

    - The alarm output is turned on manually.

    - The input machine is damaged or the connections are not correct.

    - There are some problems for specific program edition, Please update the program.

  - Alarm is not working.

Possible reasons are as followed:

    - The setting of the alarm is not correct.

    - The connection of the alarm is not correct.

    - The alarm input signal is not correct.

    - A alarm is connected with two loops synchronously.

  - The remote controller is not working,

Possible reasons are as followed:

    - The remote control address is not correct.

    - The remote control distance is too far or the angle is too large.

    - The battery is used up.

    - The remote controller or the front panel of the recording machine is damaged.

  - The storage time is not enough.

Possible reasons are as followed:

    - Front vidicon quality is bad. The lens is too dirty. The vidicon is in backlighting installation.

    - The hard disk capability is not enough.

    - The hard disk is damaged.

  - The downloading files can not play.

Possible reasons are as followed:

    - There is no media player.

    - There is no DX8.1 software or higher edition.

    - There is no DivX503Bundle.exe file to play AVI video files.

    - The DivX503Bundle.exe and ffdshow-2004 1012 .exe files must be installed in the windows xp system.

  - I can not remember the advanced code or network code in the local menu operation.

Please contact the local service or call the HQ service. We will offer the service according the machine type and the program edition.

## 5.2 Maintenance

- Please brush printed circuit boards, connectors, fans, machine box and so on regularly.

- Please keep the grounding well done to prevent the video or audio signal interfered and the DVR from static or inductive electricity.

- Do not pull out the video signal line or RS-232 port or RS-485 port with the power on.

- Do not use the TV in the local video output port(VOUT) of DVR. It will damage the video output circuit easily.

- Do not turn off the switch directly. Please use the turn-off function in the menu or press the turn-off button in the panel (3 seconds or longer) to protect the hard disk.

- Please keep the DVR away from heat resource.

- Please keep the DVR ventilated for better heat radiator.

Please check the system and maintain regularly.

# Appendix 1.Remote controller operation

（1）     （2）     （3）      （4）  (5)(6) (7）（8）

| Serial number | Name | Function |
| --- | --- | --- |
| 1 | Multi-window button | Same function as Multi-window button in the front panel |
| 2 | Numeric button | Code input/number input/channel switch |
| 3 | 【Esc】 | Same function as【Esc】button in the front panel |
| 4 | Direction button | Same function as direction button in the front panel |
| 5 | ADD | Input the number of DVR to control it |
| 6 | FN | Assistant function |
| 7 | Record control | Control the record |
| 8 | Record mode | Same function as “Record mode” |

# Appendix 2.Mouse operation

*Take right hand as an example

The mouse in USB connection is supported.

| Operation | Function |
| --- | --- |
| Double left click | Double click the playback video to zoom in or out the screen |
|  | Double click the channel to make it full screen display double click again to goto next channel |
| Left click | Choose the according function in the menu |
| Right click | Pop desktop shortcut menu in preview state |
|  | Switch to full screen view when playback |
| Move mouse | Choose the widget or move the item in the widget |
| Drag mouse | Set the motion detect area |
|  | Set the cover area |

# Appendix 3.Hard disk capability calculation

Make sure the hard disk installed to the DVR for the first time. Pay attention to the IDE hard disk lines connection.

  - Hard disk capability

There is no limit for recording machine. We recommend 120G~250G size to keep better stability.

  - Overall capability option

The hard disk capability formula is:

Overall capability（M）=channel number*time（hour）*capability in an hour（M/hour）

The recording time formula is:

Recording time（hour）=            overall capability（M）

Capability in an hour（M/hour）*channel number

The DVR introduces the H.264 compression technology. Its dynamic range is very large so the hard disk capability calculation is based on the estimation values of each channel creating files in an hour.

Example:

For one piece 500G HDD,real time CIF for recording,it will keep recording for about 25 days.HDD spaces per channel is 200M/H,if 4channels real time CIF at 24hours recording uninterrupted,it can last:500G/(200M/H*24H*4ch)=26 days

# Text boxes

RS485

10

10

1         2     3        4         5     6    7

1   2    3   11   12  13      17

15 14 16 20 5 21 23   4 10 18   6   7  8  22

11   12   13 14 15 16      17  18  192022 21

1    2    3   4  5     6  7   8      9 10

11   12   13 14 15 16       17  18  19 20 22 21

1    2    3    4  5     6  7   8      9 10

8           17           4             14                     19  20 22  21

6           7           18                                         9 10

Preset point input blank

Value input blank

Information of points on the cruise line

Preset Points Blank

Start/stop cruise