CA-176WHVA VARIFOCAL BULLET CAMERA

Image Sensor Device 1/3” Sony Super HAD CCD Total Pixels 811 x 508 Scanning System 2 :1 Interlaced 525 Lines Scanning Frequency 15,734KHz(H)/ 60Hz Shutter Speed 1/60~1/100,000 sec) Sync. System Internal Resolution More than 600 TV lines Video Output VBS, 1.0Vp-p Composite S/N Ratio More than 48dB (AGC off) Minimum Illumination 0.1 Lux Lens 4~9mm Varifocal Lens (F=1.6) White Balance Auto Operation Temperature -10 C~50°C (14°F~122°F) Power Consumption DC 12V/ 70mA Dimensions 1.2(Ø) x 3.6(L) inch (approx.) Weight 0.2 lbs (approx.) *Above specifications and appearance of product subject to change without notification

# Text boxes

- 1/3” Sony Super HAD CCD (410K)

- 600 TV Line

- 0.1 Lux

- 4~9mm Varifocal Lens

- External Zoom/Focal Length Adjustment

- IP66

- 12V DC