DCK-255 PTZ KEYBOARD CONTROLLER 3 axis joystick Preset, Group. Tour programming Electric failure compensation Up to 8 sub-keyboards can be connected Controls up to 255 cameras

Control Pan/Tilt, Zoom by 3-Axis Joy stic, Power, Auto Pan, AUX Control x2, Preset Connecting Unit Receiver(DRX-502/500), Speed Dome Camera Communication Method RS-485 (422) Communication Speed RS485 - 9600bps, N, 8, 1 Connector Modular cable connection with junction box, Power supplied via junction box Package Junction Box, 5M cable (modular jacks both ends) Operating Distance Max. 1.2km (When using shielded twisted pair cable) Power DC9V, 500mA Power Consumption 6W Operating Condition 0˚C ~ +40˚C Weight Approx. 7.7 lbs Dimensions 13.5(W) x 2(H) x 6.12(D) inch *Above specifications and design subject to change without notification