USER’S MANUAL

4CH COLOR SCREEN SPLITTER

INDEX

- MAIN FEATURES AND FUNCTIONS----------------------------------------- 2

2. 4CH. COLOR SPLITTER SPECIFICATION------------------------------------- 3

2-1. REAR PANEL SPEC

2-2. FRONT PANEL SPEC

2-3. CATEGORIZED SPECS

2-4. ELECTRICAL AND PHYSICAL CHARACTERISTICS

3. OUTER APPEARANCE AND FEATURES-------------------------------------- 4

3-1. 4CH. COLOR SPLITTER FRONT

3-2. 4CH. COLOR SPLITTER REAR

3-3. BUTTON FUNCTIONS

3-4. ALARM

4. MENU SETUP--------------------------------------------------------- 7

4-1. BASIC SETUPS

4-2. TIME/DATE SETUP

4-3. CAMERA NAME SETUP

4-4. SEQUENTIAL DISPLAY SETUP

4-5. SPLIT MODE SETUP

4-6. ALARM SETUP

4-7. MOTION DETECTION SETUP

4-8. OTHERS

5. INSTALLATION-------------------------------------------------------- 10

5-1. VIDEO SIGNAL CONNECTION

5-2. VIDEO SIGNAL INPUT/OUTPUT

5-3. ALARM SIGNAL INPUT/OUTPUT

5-4. ALARM PORT

5-5. REMOTE CONTROL PORT

6. INITIAL MODE SETUP--------------------------------------------------- 12

1. Main features and functions

4CH. Color Splitter is a high-quality 8ch dual page screen splitter.

All-in-one board design and high-density digital components guarantee excellent display quality.

4CH. Color Splitter supports such functions as alarm, buzzer, remote control, motion detection, etc.

Main features

◈ 2,3, or 4 split screens (Real Time Display)

◈ High resolution in EIA 720x480 /CCIR 720x576

◈ EIA / CCIR compatible

◈ PIP(Picture In Picture)

◈ Auto Sequence and Video Loss Auto Skip

◈ Motion Detection

◈ OSD(On Screen Display) and Time display

◈ 1:1(FULL) Screen

◈ Freeze

◈ Sequential display in PIP

◈ Play Back and Zoom(2x)

◈ Monitor Output,VCR Input/Output

◈ 4 Sensors and 1 Alarm output

◈ Parallel port and  Serial port(RS-232C)

2. 4ch. Color Splitter Specifications

| 2-1. Rear Panel |
| --- |
| Name | No. | Type | Signal | Descriptions |
| Camera Input Loop Output | 4 | BNC BNC | CVBS CVBS | 1Vpp @75 Ohm Load Auto Load (The same signal as the camera input signal) |
|  | 4 |  |  |  |
| VCR Input Output | 1 | BNC | CVBS | 1Vpp @75 Ohm Load |
|  | 1 |  |  |  |
| Monitor Output | 2 | BNC | CVBS | 1Vpp @75 Ohm Load |
| VGA Output | 1 | DSUB-15 | VGA | COMPUTER VGA Signer |
| Sensor Input Alarm Output | 4 | DB15-3R | TTL Drive | TT, 1K Ohm pull-up Photo-coupler isolation, 30V 50mA |
|  | 1 |  | TR Drive |  |
| RemoteControl Parallel Serial | 8 |  | TTL | The same functions as the front panel functions |
|  | 1 |  | RS-232C |  |
| Power | 1 | DC Jack | DC12V | Power |
| Ground | 1 | Bolt | 3P x 7mm | Ground |

* Either sensor input or parallel remote control can be used, not both

| 2-2. Front panel |  |  |
| --- | --- | --- |
| Name | Buttons | No. | Descriptions |
| Cameras | 1,2,3,4 | 4 | Freeze/Full Screen /Cursor/Zoom Area Setup |
| Display | SPLIT | 1 | Split mode selection /Reset in alarm /data change in menu |
|  | FREEZE | 1 | All-channel Freeze/ Menu (toggle) |
|  | SEQUENCE | 1 | Sequential display / Playback |
| Playback | ZOOM | 1 | Zoom in playback |

| 2-3. Categorized Specs |  |
| --- | --- |
| Name | Values | Descriptions |
| Time/date | Asia-Euro-US, Disp. ON/OFF | Three display modes, 24-hour display (On/Off) |
| Camera Title | 8 Character, Disp. ON/OFF | OSD type diplay (English, Number, Special Character) On/Off |
| Switching Time in Sequnce | Off-99Sec | Sequential channel switching time (split mode included, and video loss channel excluded) Automatic sequence in Full/PIP |
| Split screen mode | 8 Type | 2-way, 3-way, 4-way setup for each channel |
| OSD location | 4 | OSD location setup and OSD ON/Off |
| Sensor Type | OFF-N.O-N.C | NO/NC/OFF setup for each channel |
| Alarm Continuation | OFF-30Min | Alarm continuation time (photo-coupler activation time) |
| Buzzer Continuation | OFF-99Sec | Buzzer continuation time |
| Video loss detection | Yes | In case of video loss, “L” appears on the screen and the buzzer sounds. |
| OSD | ON/OFF | OSD On/Off |
| Motion detection | ON/OFF | Motion detection and motion sensitivity setup according to the program-set areas. (ON/Off) |

| 2-4. Electrical and Physical size and characteristics |
| --- |
| Name | Descriptions |
| Resolution | EIA 720x480 60field, 30frame/Sec CCIR 720x576 50field, 25frame/Sec |
| Size | W 210mm x D 200(+10)mm x H 44mm |
| Weight | 2.5Kg / 5.5 lbs |
| Power and power consumption | DC12V 0.5A (or DC18V / 0.5A) / Less than 5 W |
| Operating Temperature | -10 C°~ +50 °C / 20~85 % RH |

3. Outer Appearance and Features

3-1. 4ch. Color Splitter Front panel

①                ②        ③        ④

① CHANNEL 1∼4

② Quad mode (4-SPLIT screen)

③ FREEZE / MENU

④ SEQUENCE / PLAY BACK

3-2. 4ch. Color Splitter Rear panel

- ②       ③            ④

⑤                    ⑥        ⑦           ⑧            ⑨           ⑩

① Video Input (CH. 1-4)

② Monitor Output1

③ VCR Input

④ VGA Output

⑤ Loop Output (CH. 1-4)

⑥ Monitor Output2

⑦ VCR Output

⑧ Alarm input/output and remote control

⑨ Power

⑩ GROUND

3-3. Button Functions

Each button has two functions depending on the way you push them –1) push or 2) push and hold.

①                 ②        ③         ④

① FREEZE, FULL SCREEN

If you are in quad mode, you can freeze or unfreeze a channel simply by pushing the corresponding channel.

You can have a full channel mode for each of CH1~4 by pushing and holding CH1~4.

② SPLIT, RESET(deactivation of alarm and motion)

To have a quad view, you should press “SPLIT” button.

You can deactivate the possible event (alarm and motion) by pushing and holding this button.

③ FREEZE(all-channel freeze), MENU

If you push the button, all channels freeze. To deactivate the freeze, you push it again. If you push and hold the button, you enter the menu mode.

④ SEQUENCE, PLAY BACK

If you push the button, you can have the channels switch at the intervals of transition time (0~99sec) you set.

If you have set up PIP for Sequence, only PIP switches in sequential display.

If you push and hold the button, you can playback VCR. While you are playing back, you can zoom (2X) in the channel.

3-4. Alarm

① Alarm Input and Alarm Output(photo-coupler output)

If an alarm signal is received from the sensor, the letter “A” appears on the screen with an alarm

and photo-coupler is activated.

The alarm is deactivated after a set amount of time.

You can, however, force the alarm to stop by pushing and holding SPLIT (RESET).

② Motion detection(VMD)

You can activate the alarm when there’s a motion within the set area and the letter “M” appears on the screen

with the beep, and the photo-coupler is activated.

③ Video Loss

In case of a video loss because of a possible camera malfunction, the letter “L” appears on the screen

with the beep.

4. Menu Setup

4-1. Basic setups

You push and hold FREEZE to enter the Menu mode. The values set in Menu remain unchanged even after power-off. You can move cursors to set values with the keys as below:

You select any menus with the cursors (( () and enter (() to have sub menus.

| Buttons | Functions |
| --- | --- |
| ( ( ( ( | Cursors |
| ( | Enter Key (confirmation) / Enter Submenu |
| ( | Exit / Enter Uppermenu |

4-2. Time/Date Setup

1. TIME: Time Setup.

2. DATE: Date Setup.

3. TIME DISPLAY: You can set the time display on or off.

4. DATE DISPLAY: You can set the date display on or off.

5. DATE FORMAT: You can choose any one of three Date formats (ASIA, US, EURO).

Date Format: 1) ASIA:  yyyy - mm - dd

2) USA :  mm - dd - yyyy

3) EURO:  dd - mm – yyyy

6. YEAR FORMAT: You can set the year format in two or four digits. (2(yy) or 4(yyyy))

7. TIME CORRECT: You can set time correction values (seconds) to maintain the most correct time.

The set values will be added to or subtracted from the current time every day or month.

4-3. Camera Name Setup

To change the camera name, you select any channel using cursors and push the enter button ((). Now you can choose characters for the channel you have selected. You move cursors (( or () to place the cursor on the character you’d like to choose, and then you push the enter button ((). You repeat the same process until you are finished.

4-4. Sequential Display Setup

1~5: You set the channel switching time for the Sequence mode. If you set a camera off for auto sequence, it does not appear in the Sequence mode.

6. LOSS AUTO SKIP: If it’s ON, video loss channels do not appear in sequence mode. If it’s OFF, video loss channels appear in sequence mode.

7. SEQUENCE MODE: If you select FULL, PIP does not appear when it switches. If you select PIP, PIP appears when it switches.

8. PIP SEQUENCE: If you select MAIN, the channel in the background switches, not PIP. If you select PIP, only PIP switches, not the channel in the background. (To have PIP switch, you have to set the menu number 7, SEQUENCE MODE, in PIP mode beforehand.)

4-5. Split Mode Setup

1. MUTISCREEN MODE: You select any one of the following split modes.

QUAD 2WAY-1 QUAD-1 QUAD-2 3WAY-1 3WAY-2 3WAY-3 3WAY-4

2. OSD POSITION: You decide where you will place the OSD.

| CAM 1 | CAM 2 |
| --- | --- |
| CAM 3 01/30 | CAM 4 10:01 |
| CAM 1 | CAM 2 |
| 01/30 CAM 3 | 10:01 CAM 4 |
| 01/30 CAM 1 | 01/30 CAM 2 |
| CAM 3 | CAM 4 |

| CAM 1 01/30 | CAM 2 01/30 |
| --- | --- |
| CAM 3 | CAM 4 |

3. Boarder Type: You select one of three border type options (black, grey, or no border).

4-6. Alarm Setup

1~4: You decide the sensor input type.

N.O: It alarms when the contact is closed.

N.C: It alarms when the contact is open.

OFF: No alarm is set

5. ALARM OUTPUT TIME: OFF ~ 30 MIN

When the alarm sounds (photo-coupler is activated), the status of alarm or motion maintains its status for the set amount of time.

6. ALARM BUZZER TIME: OFF ~ 59 SEC

You set the amount of time for the alarm to sound.

7. VIDEO LOSS BUZZER: You can set the video loss buzzer on or off.

4-7. Motion Detection Setup

1~4: You can set the motion detection area and motion sensitivity for each channel.

You can deactivate it (OFF) if you are not going to use it.

Cell size: 16X12

Pink: cursor

Red: detected area

Green: motion setup

5. MOTION SENSITIVE: You set the motion sensitivity. As the sensitivity gets closer to ‘1’, the more sensitive

it becomes.

6. MOTION MODE: When motion is detected on a certain channel, the channel becomes a full screen

in FULL mode. In QUAD mode ‘M’ appears on the motion-detected channel

to identify the channel.

4-8. Others

1. REMOTE CONTROL ID: When controlling more than one device using RS232C, you assign different device numbers to each device to control them remotely.

2. OSD: When OSD is in off mode, no OSD appears except MENU.

3. COLOR KILL: You turn it on when using B/W monitors.

4. ALARM REMOTE SELECT: Eight D-SUB terminals in the rear panel can either be used as remote controllers or sensor inputs.

5. Installation

5-1. Video Signal Connection

5-2. Video Signal Input/Output

5-3. Alarm Signal Input/Output

NOTE: Designated connectors should be used for alarm connection.

Recommend Input/output voltage should be used. Otherwise, it may cause a malfunction.

5-4. Remote Control Port

- The following shows the remote control ports including serial and parallel ports.

G  S4  S3  S2  S1

G  S8  S7  S6  S5

RX  TX  G  E  C

`

- The following shows that the pin layout of parallel remote control ports and the corresponding functions.

|

Keyboard Layout for remote control port

5-5.  RS-232C Remote control CODE

- STAND ALONE: You can use the following three codes when using one serial port.

You should check MULTI REMOTE ID off after entering MISCELLANEOUS in menu.

| STX | OP CODE | ETX |
| --- | --- | --- |

- MULTI COMMUNICATION: If you want to control more than one multiplexer with one port, you should have HEADER codes to distinguish the multiplexers from one another. The maximum number of multiplexers to be combined is 16. You have to set each multiplexer with different MULTI REMOTE ID from 1~16, after entering MISCELLANEOUS in menu.

| SOH | HEADER | STX | OP CODE | ETX |
| --- | --- | --- | --- | --- |

- The following codes show each of their functions.

CONTROL CODE        OP CODE

| INTIAL | CODE |  | CODE | FUNCTION |  | CODE | FUNCTION |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SOH | 01 |  | 90 | CH1 | FREEZE |  | 80 | CH1 | FULL |
| STX | 02 |  | 91 | CH2 |  |  | 81 | CH2 |  |
| ETX | 03 |  | 92 | CH3 |  |  | 82 | CH3 |  |
| HEADER |  | 93 | CH4 |  |  | 83 | CH4 |  |
|  |  | 94 | SPLIT |  | 84 | SPLIT |
|  |  | 95 |  |  |  | 85 |  |  |
|  |  | 96 |  |  |  | 86 |  |  |
|  |  | 97 |  |  |  | 87 |  |  |
|  |  | 98 |  |  |  | 88 |  |  |
| CODE | 1D No |  | 99 |  |  |  | 89 |  |
| AO ( AF | 1 ( 16 |  | 9A | FREEZE |  | 8A | MENU |
|  |  |  | 9B | SEQUENCE |  | 8B | PLAY BACK |
|  |  |  | 9C |  |  |  |

6. Initial Mode Setup

After a possible malfunction or repair of a device, the status of inner programs might change.

In this case, you can retrieve the initially setup mode.

To go back to the initially setup mode, you turn the power on and off while you keep pushing the following button

depending on the model and scanning mode.

| MODEL | NTSC | PAL |
| --- | --- | --- |
| 4ch color splitter | FREEZE BUTTON |

WARRANTY AND LIABILITY

## WARRANTY

OUR COMPANY WARRANTS THAT THE GOODS ARE FREE FROM DEFECTS IN MATERIAL AND WORKMANSHIP AND WILL SUBSTANTIALLY CONFORM TO OUR COMPANY’S PUBLICLY AVAILABLE SPECCIFICATIONS DURING THE PERIOD OF ONE YEAR FROM THE DATE OF PURCHASE.

###### EXTENT OF LIMITED WARRANTY

THIS LIMITED WARRANTY DOES NOT COVER THE DAMAGES DUE TO EXTERNAL CAUSES, INCLUDING ACCIDENT, PROBLEM WITH ELECTRICAL POWER, AND USAGE NOT IN ACCORDANCE WITH PRODUCT INSTRUCTIONS, MISUSE, NEGLECT, ALTERATION, REPAIR, IMPROPER INSTALLATION, OR IMPROPER TESTING.

# LIMITATIONS OF LIABILITY

OUR COMPANY’S RESPONSIBILITY UNDER THIS OR ANY OTHER WARRANTY,

IMPLIED OR EXPRESSED, IS LIMITED TO REPAIR, REPLACEMENT OR REFUND, AS SET FORTH ABOVE.

OUR COMPANY IS NOT RESPONSIBLE FOR DIRECT, SPECIAL, INCIDENTAL OR CONSEQUENTIAL DAMAGES RESULTING FROM ANY BREACH OF WARRANTY OR UNDER ANY OTHER LEGAL THEORY INCLUDING, BUT NOT LIMITED TO, LOST PROFITS, DOWNTIME, GOODWILL, DAMAGE TO OR REPLACEMENT OF EQUIPMENT AND PROPERTY, AND ANY COSTS OF RECOVERING, REPRODUCING ANY DATA STORED IN OR USED WITH A SYSTEM CONTAINING THE GOODS.

INSTRUCTIONS

1. READ ALL SAFETY AND OPERATING INSTRUCTIONS BEFORE OPERATING THIS PRODUCT.

2. RETAIN THE SAFETY AND OPERATING INSTRUCTIONS FOR FUTURE REFERENCE.

3. UNPLUG THE PRODUCT BEFORE CLEANING. DO NOT USE LIQUID OR AEROSOL CLEANERS. USE A DAMP CLOTH FOR CLEANING.

4. ONLY MANUFACTURER-RECOMMENDED ATTACHMENTS ARE TO BE USED. OTHERWISE, IT MAY RESULT IN THE RISK OF FIRE, ELECTRIC SHOCK OR INJURY.

5. KEEP THE PRODUCT AWAY FROM LIQUID OR ANY OTHER TYPE OF MOISTURE.

6. DO NOT PLACE THIS PRODUCT ON AN UNSTABLE CART, STAND OR TABLE. OTHERWISE, IT MAY CAUSE SERIOUS INJURY TO A CHILD OR ADULT AND SERIOUS DAMAGE TO THE PRODUCT. ANY MOUNTING OF THE PRODUCT SHOULD FOLLOW THE MANUFACTURER'S INSTRUCTIONS AND SHOULD USE A MOUNTING ACCESSORY RECOMMENDED BY MANUFACTURER.

7. THE PRODUCT SHOULD BE OPERATED ONLY FROM THE TYPE OF POWER SOURCE INDICATED ON THE LABEL.

8. DO NOT PUT ANYTHING ON THE POWER CORD AND PREVENT IT FROM ANY TYPE OF ABUSE.

9. IF THE PRODUCT IS NOT USED FOR A LONG TIME, PLEASE UNPLUG IT FROM THE POWER SUPPLY AND DISCONNECT IT FROM OTHER EQUIPMENT. THIS WOULD PREVENT FROM DAMAGE TO THE PRODUCT DUE TO LIGHTING AND POWER-LINE SURGES.

10. DO NOT OVERLOAD WALL OUTLETS AND EXTENSION CORDS TO PREVENT FROM THE RISK OF FIRE OR ELECTRIC SHOCK.

11. DO NOT INSERT ANY KIND OF OBJECTS INTO THE PRODUCT.

12. DO NOT TOUCH ANY PARTS INSIDE FOR REPAIR. THERE ARE NO USER SERVICEABLE PARTS. IT MAY EXPOSE YOU TO DANGEROUS VOLTAGES OR OTHER HAZARDS. REFER TO QUALIFIED PERSONNEL FOR REPAIR.

13. REPLACEMENT PARTS ARE TO BE PROVIDED BY THE AUTHORIZED TECHNICIANS DESIGNATED BY THE MANUFACTURER. THE USE OF UNAUTHORIZED SUBSTITUTE COMPONENTS MAY RESULT IN FIRE, ELECTRIC SHOCK OR OTHER HAZARDS.

14. ASK THE SERVICE TECHNICIAN AS FOR SAFETY CHECK UPON COMPLETION OF ANY SERVICE OR REPAIR OF THE PRODUCT.

# Text boxes

4

9

PS-400B							PROLINE UK

- TIME/DATE  –

- TIME(HH:MM:SS) : 12:25:30

2. DATE(YY-MM-DD):2001-01-09

3. TIME DISPLAY    : ON

4. DATE DISPLAY    : ON

5. DATE FORMAT   : ASIA

6. YEAR FORMAT   : 4DIGIT

7. TIME CORRECTION: DAY+00SEC

- MAIN MENU-

- TIME/DATE

- CAMERA TITLE

- AUTO SEQUENCE

- DISPLAY

- ALARM SET

- MOTION DETECTION

- MISCELLANEOUS

PS-400B							PROLINE UK

11

- AUTO SEQUENCE -

1. CH1 : 03s

2. CH2 : 03s

3. CH3 : 03s

- CH4 : 03s

- QUAD : 03s

- LOSS AUTO SKIP : ON

- SEQUENCE MODE : FULL

- PIP SEQUENCE  : PIP

- DISPLAY -

- MULTISCREEN MODE

-QUAD-

- OSD POSITION : A,B,C,D

- BORDER TYPE : A,B,C

4CH .COLOR SPLITTER

4

12

4CH .COLOR SPLITTER

4CH .COLOR SPLITTER

4CH .COLOR SPLITTER

1

4CH .COLOR SPLITTER

11

4CH .COLOR SPLITTER

10

4CH .COLOR SPLITTER

5

4CH .COLOR SPLITTER

- MOTION DETECTION -

1. CH1 : OFF / AREA

2. CH2 : OFF / AREA

3. CH3 : OFF / AREA

4. CH4 : OFF / AREA

5. MOTION SENSITIVE : 10

6. MOTION MODE : QUAD

TITLE :  CAM1

1 2 3 4 5 6 7 8 9 A B

C D E F G H I J K L M N

O P Q R S T U V W X Y Z

/ . ,  ( )  :  #

8

- ALARM -

1. CH1 : N.O

2. CH2 : N.O

3. CH3 : N.O

4. CH4 : N.O

5. ALARM OUTPUT TIME :01min

6. ALARM BUZZER TIME : 3sec

7. VIDEO LOSS BUZZER : ON

2

4CH .COLOR SPLITTER

- MISCELLANEOUS  -

1. REMOCON ID     : OFF

2. OSD              : OFF

3. COLOR KILL       : OFF

4. ALARM REMOTE : REMOTE

SELECT

4CH .COLOR SPLITTER

4CH .COLOR SPLITTER

7

4CH .COLOR SPLITTER

6

8

3

SENSOR INPUT

5V                       > 100mSec

0V

ON                              OFF

ALARM OUTPUT

Duration: Alarm Output Time (Prograrm Value)

4