DOM-4BQ B&W QUAD DOME CAMERA - 1/3” CCD - 4 Cameras built in facing 4 directions - Remote controller & 60ft cable included - 12V DC

#### Image Sensor; 1/3” Interline B/W CCD. Resolution; Quad: 320  240 (EIA), Camera: 380 TV lines. Video Output; Composite 1.0Vp-p 75, BNC. Minimum Illumination; 0.1 Lux at F 2.0. Scanning System; 2:1 Interlace. Sync. System; ##### Internal. S/N Ratio; ##### More than 48 Db. Shutter Speed; 1/60 ~ 1/100,000 sec. (EIA). Lens; 3.6 mm (4 cameras, 360). Operating Temperature; -10 ~ +50C. Dimension; 5.69”(Diameter) X 3.87”(H). Power Supply; DC 12V. *Above specification and design subject to change without notification