GL-605HB OUTDOOR CAMERA HOUSING WITH HEATER & BLOWER

### Material; ### Aluminum. ### Type; ### Open-back. ### Color; ### Beige. Dimension; 5.6"(W) x 4.5"(H) x 15.4"(D) /. Control Temperature; Heater; On: 15°C. Off: 25°C. Blower; On: 35°. Off: 25°. Input Voltage; 24V AC. *Above specifications and design subject to change without notification