LENS-06 6MM LENS - Focal Length: 6.05mm - F-Number: 2.0 - Sensor Size: 1/3” CCD - Back Focal Length: 8.20 In Air - Flange Back Length: 17.526 In Air - Elements: 4 Glass

Focal Length; 6.05mm. F-Number; 2.0. Sensor Size; 1/3” CCD. Operation; Iris; Fixed. Focus; 10cm ~ ∞. Angle of View; Diagonal; 1/3”, 58°. Horizontal; 1/3”, 46°. Vertical; 1/3”, 35°. Entrance Pupil Diameter (mm); 3.02. Entrance Pupil Position (mm); 3.48. Exit Pupil Diameter (mm); 13.21. Exit Pupil Position (mm); -26.31. Back Focal Length (mm); 8.20 In Air. Flange Back Length (mm); 17.526 In Air. Mount Type; C mount. Dimensions (inch); 1.4 x 1.2. *Above specifications and design subject to change without notification