PBOX-AC18 18 CAMERA AC 24V POWER SUPPLY - Individual fuse and LED per output - 24V AC - 8A total output - Connect up to 18 devices simultaneously - UL listed

Power; 24V AC. Number of Output; 18. Certification; UL. Total Output; 8A. Dimensions (inch); 9.8 x 3.8 x 8.2 (L x D x W). Case Color; Beige. *Above specifications and design subject to change without notification