VPD-338ZH Color Vandal Proof Dome Camera WITH 10X OPTICAL ZOOM LENS - 1/4” Sony Super HAD CCD - 10x Optical & 8x Digital Zoom (3.8~38mm/F1.8~2.8) - Digital Noise Reduction - Filter Changeable Day & Night Mechanism - Auto White Balance - On-Screen-Display Setting - Aluminum & Poly-Carbonated Housing - IP66

*Above specification and image subject to change without notice Image Sensor; 1/4" Sony Super HAD CCD. Effective Pixels; 752H × 582V, 440K Pixels. Scanning System; 535 Lines 2:1 Interlace. Synchronization; Internal/ Line Lock Selectable 0~359 degree (adjustable). Frequency; 15,734KHz(H), 59.94Hz(V). Resolution; 500 TV-Lines. Shutter Speed; ESC/ Manual/ FLK (1/50 ~ 1/100,000 sec.). S/N Ratio; 50dB (AGC Off). Min. Illumination; Color: 0.7 Lux, B&W: 0.1 Lux. On-Screen-Display; Built-In. Zoom; 10x Optical, 8x Digital. White Balance; ATW/ AWC/ Manual (1,800°K~10,500°K). Color; On/ Auto. Gain Control; Off/ Low/ Middle/ High. Motion Detection; On/ Off (4 Programming Zone). Sens-Up; Off/ Auto. Digital Noise Reduction; Off/ Low/ Middle/ High. Mirror; Built-In (Horizontal Image Conversion). Privacy Function; On/ Off (4 programming Zone). Video Output; VBS 1.0 Vp-p (75Ω load). Lens; Vari-Focal DC Auto Iris Lens (3.8mm~38mm/F1.8~2.8). Backlight Compensation; Off/ Low/ Middle/ High. Power Source; 24V AC (260mA Max.)/12V DC (440mA Max.). Operating Temp.; -10℃ ~ +50℃. Operating Humidity; 90% RH max.. Dimensions; 6.4(Ø) x 5(H) inch (approx.). Weight; 2.1 lbs (approx.).